cf-EpiTracing Bench Protocol

Antibody–bead coupling, plasma cf-chromatin capture, tagmentation, library preparation and QC

Based on Chen et al., Nature 2026 (cf-EpiTracing), with clarifications from the corresponding authors and in-house troubleshooting. Version 1.3, 20 October 2026. Prepared for H. Ludewick.

# 1. Overview

cf-EpiTracing captures histone-marked cell-free chromatin (cf-chromatin) directly from plasma using antibodies covalently coupled to Dynabeads M-270 Epoxy. After washing, free Tn5 loaded with barcoded adapters tags all DNA on the beads; specificity therefore comes entirely from immunocapture and the pre-tagmentation washes. Libraries are amplified directly from the bead reaction and sequenced paired-end.

| Stage | Time | Section |
| --- | --- | --- |
| Antibody preparation and bead coupling (10 µg scale) | Day 1 + 36–48 h incubation | 3 |
| Post-coupling washes, storage and coupling QC gel | Day 3 (~3 h) | 3–4 |
| Plasma preparation | Same day as blood draw | 5 |
| cf-chromatin capture (overnight) | Day 1 → Day 2 | 6 |
| Tagmentation, lysis, PCR, clean-up | Day 2 (~4 h) | 6–7 |
| Library QC, pooling, sequencing, data QC | After library prep | 7–8 |

Key changes from the published methods: post-coupling washes use PBS + 0.1% BSA (author recommendation); H3K27ac uses Abcam ab177178 (author recommendation; ab4729 shows lot-to-lot variation); an IgG control and a coupling-supernatant QC gel are included in every batch; S2 spike-in is dosed at 1 ng per 200 µl plasma (author protocol).

# 2. Reagents and antibodies

## 2.1 Antibodies

Use all antibodies as supplied: the authors did not buffer-exchange before coupling. Record the lot number and concentration of every vial.

| Mark | Antibody (cat. no.) | Formulation | Prep before coupling |
| --- | --- | --- | --- |
| H3K4me3 | Diagenode C15200152 | Check datasheet | As supplied |
| H3K27ac | Abcam ab177178 (preferred) Abcam ab4729 (alternative) | ab177178: 0.05% BSA ab4729: PBS, 1% BSA, 0.02% azide | As supplied. Use the carrier-free (BSA/azide-free) format of ab177178 if Abcam offers one. If using ab4729, request a different lot if performance is poor. |
| H3K36me3 | Active Motif 91265 | Protein A purified IgG; 140 mM HEPES pH 7.5, 70 mM NaCl, 32 mM NaOAc, 0.035% azide, 30% glycerol | As supplied (authors confirmed efficient coupling) |
| IgG control | Normal IgG, same host species as the primaries | Carrier-free preferred | As supplied |
| Other marks in the paper | H3K4me1 Diagenode C15410194; H3K4me2 Diagenode C15410035; H3K9ac Active Motif 91103; H3K27me3 CST 9733S; H3K9me3 Abcam ab8898 | — | As supplied |

Avoid: Tris, glycine or other primary-amine buffers, and high concentrations of carrier protein (e.g. 1% BSA, gelatin, whole serum). They compete with the antibody for the epoxy groups.

## 2.2 Buffers

| Buffer | Composition | Storage |
| --- | --- | --- |
| Buffer A (coupling) | 0.1 M sodium phosphate, pH 7.4 | 4 °C, up to 1 month |
| Buffer B (coupling) | 3 M ammonium sulfate in Buffer A | RT, up to 1 month |
| PBS | pH 7.4, no azide | RT |
| PBS + 0.1% BSA (post-coupling wash) | PBS + 0.1% nuclease-free, molecular-biology-grade BSA (e.g. UltraPure BSA) | Fresh, or 0.22 µm filtered, 4 °C, ≤ 1 week |
| Antibody storage buffer | PBS + 0.05% sodium azide | 4 °C |
| Wash buffer (capture) | 50 mM Tris-HCl pH 7.4, 150 mM NaCl, 0.5% Triton X-100, 2 mM EDTA, 10 mM sodium butyrate | 4 °C; add butyrate fresh |
| Tris wash | 10 mM Tris-HCl, pH 7.4 | 4 °C |
| Tagmentation buffer (10 µl/well) | 10 mM MgCl2, 10 mM TAPS-NaOH pH 8.5, 100 nM barcoded Tn5 | Prepare fresh on ice |
| Lysis buffer (2 µl/well) | 60 mM Tris-HCl pH 8.0, 60 mM EDTA, 0.25% SDS, 0.6 mg/ml Proteinase K (Qiagen) | Prepare fresh |
| Quench buffer (5 µl/well) | 60 mM MgCl2, 0.36% Triton X-100, 4 mM PMSF (recipe in Section 6.3) | Make fresh; add PMSF last, use within 30 min |
| PMSF stock | 100 mM in 100% ethanol (17.4 mg/ml; MW 174.2). Toxic: gloves, weigh in hood | −20 °C aliquots, months |

## 2.3 Other materials

- Dynabeads M-270 Epoxy (Invitrogen 14301)

- Magnetic rack, end-over-end rotator (Tube Revolver, 8–15 rpm) at 4 °C or room temperature

- Low-binding 1.5 ml tubes

- cOmplete protease inhibitor (Roche), sodium butyrate

- Drosophila S2 spike-in chromatin (Active Motif; supplied at 4 ng/µl DNA)

- KAPA HiFi DNA polymerase kit, dNTPs, i5/i7 index primers

- AMPure XP or equivalent SPRI beads, fresh 80% ethanol, 10 mM Tris-HCl pH 8.0

- Qubit dsDNA HS, TapeStation D1000/HS D1000, library quantification qPCR kit

- Bio-Rad Mini-PROTEAN TGX 4–20% gels, Tris/glycine/SDS running buffer, 3× SDS loading buffer, 1 M DTT aliquots (−20 °C)

- Bio-Safe Coomassie G-250 (Bio-Rad); Amicon Ultra-0.5 10K (UFC501096) for desalting supernatants

## 2.4 S2 spike-in chromatin

Chen et al. add sonicated, lightly fixed S2 chromatin from ~3,000 cells (≈ 1 ng DNA) to each 200 µl plasma well. Native cfDNA is ~1–5 ng per 200 µl, so the spike-in:cfDNA ratio is ~0.2–1.

| Item | Setting |
| --- | --- |
| Product | Active Motif spike-in chromatin, 4 ng/µl (DNA content) |
| Dose | 1 ng S2 DNA per 200 µl plasma |
| Working dilution (fresh, low-binding tube) | 5 µl stock + 15 µl 10 mM Tris-HCl pH 8.0 → 1 ng/µl |
| Per well | 1 µl, added from a master mix to every well including IgG |
| Consistency | Same lot and dose in every run, so dm6 fractions compare between batches |

Differences from the authors’ spike-in: they fix S2 cells lightly (1% formaldehyde, 5 min on ice) and sonicate to ~300 bp; commercial chromatin is likely more heavily crosslinked and may tagment and amplify less efficiently. Fine for within-lab comparisons; dm6 fractions may not match the paper. Optional: confirm the stock by extracting DNA from 5 µl (proteinase K + heat) and measuring with Qubit HS.

# 3. Antibody–bead coupling (10 µg antibody scale)

Scale per antibody: 10 µg antibody on 0.5 mg beads (20 µg/mg), matching the published ~1 µg antibody per 0.05 mg beads per reaction. This makes 10 reactions at 1 µg (50 µl beads each) or 5 reactions at 2 µg (100 µl each).

Do all marks together: couple H3K4me3, H3K27ac, H3K36me3 and IgG in one session from the same bead stock and buffers, so batches can be compared directly.

## 3.1 Day 1: bead preparation

- Equilibrate. Let the closed bead vial reach room temperature (~30 min) before opening, so moisture does not condense on the powder.

- Weigh. Weigh ~2.5 mg of lyophilised beads (enough for 4 antibodies plus spare) into a low-binding tube. Record the exact mass. Close the vial promptly.

- Resuspend. Add Buffer A to 10 mg/ml (e.g. 250 µl for 2.5 mg). Vortex 30 s, then rotate 10 min at RT.

- Wash. Place on magnet 1 min; discard supernatant. Resuspend in the same volume of Buffer A (10 mg/ml) and vortex.

- Aliquot. Vortex immediately before each draw and pipette 50 µl (0.5 mg) into one labelled tube per antibody. Place on magnet and remove buffer completely.

Timing: epoxy groups hydrolyse once wet. Add the antibody within ~30 min of resuspending the beads.

## 3.2 Day 1: coupling reaction (60 µl total)

Add components to the washed beads in this order:

| Component | Volume | Notes |
| --- | --- | --- |
| Antibody (10 µg) | X µl = 10 ÷ conc. (µg/µl) | e.g. 10 µl at 1 µg/µl (91265) |
| Buffer A | 40 − X µl | e.g. 30 µl when X = 10 |
| Buffer B (3 M ammonium sulfate) | 20 µl | Final 1 M ammonium sulfate |
| Total | 60 µl | Beads ≈ 8 mg/ml |

If X > 40 µl (dilute antibody), keep Buffer B at one-third of the final volume: Buffer B = (X + Buffer A) ÷ 2. With 91265 (30% glycerol), 10 µl in 60 µl gives 5% glycerol, which is acceptable.

- Mix. Flick or briefly vortex. Seal caps with Parafilm.

- Incubate. Rotate end-over-end at 8–15 rpm for 48 h at 4 °C or 36 h at room temperature (authors’ standard conditions). Check that beads remain suspended; flick occasionally or use a 0.5 ml tube for small volumes.

## 3.3 Day 3: post-coupling washes and storage

- Collect supernatant. Magnet 2 min. Transfer the entire supernatant (~60 µl) to a labelled tube and keep at 4 °C for the QC gel (Section 4). Do this before any BSA contacts the beads.

- Block and wash. Wash 4× with 0.5 ml PBS + 0.1% BSA (author recommendation; reduces non-specific background). Wash 1: rotate 15–30 min at RT to block remaining epoxy sites (our addition; authors did not specify an incubation). Washes 2–4: quick — resuspend → magnet 1–2 min → discard.

- Resuspend for storage. Resuspend in 500 µl antibody storage buffer (PBS + 0.05% azide) to give 1 mg/ml beads (~1 µg antibody per 50 µl).

- Store. 4 °C. Never freeze. Label with antibody, lot, coupling date, “10 µg / 0.5 mg”, and conditions (4 °C 48 h or RT 36 h).

Do not add BSA to the coupling reaction itself. It competes with the antibody for epoxy groups.

# 4. Coupling QC gel (required for every coupling)

Goal: show that the IgG heavy (~50 kDa) and light (~25 kDa) chains are depleted from the coupling supernatant. The 60 µl supernatant initially held 10 µg antibody (6 µl = 1 µg-equivalent if nothing coupled). The supernatant contains 1 M ammonium sulfate, which distorts lanes, so use Option A or B.

## 4.1 Option A: desalt with Amicon Ultra-0.5 10K (preferred; allows Coomassie)

- Pre-rinse the device with 500 µl water, 14,000 × g 5 min, RT. Do not let the membrane dry.

- Load 30 µl supernatant (5 µg-equivalent) + 470 µl water.

- Spin 1: 14,000 × g, 10–15 min, RT, to ~20–30 µl. Discard flow-through.

- Spin 2: top up to 500 µl with water, mix gently, spin again to ~20 µl. Salt is now ~5 mM regardless of the retained volume.

- Recover: invert the filter into a clean tube, 1,000 × g 2 min (~20 µl). If > 25 µl, spin a further 2–5 min (checking) or load a known fraction and correct for it.

- Recovery control (essential): 2 µg uncoupled antibody in 30 µl mock supernatant (20 µl Buffer A + 10 µl Buffer B) processed identically, to correct for IgG lost on the membrane.

## 4.2 Option B: direct load with matched salt

Load 6 µl supernatant + 14 µl water. Add 6 µl mock supernatant (Buffer A:Buffer B 2:1) to every standard and empty lane so all lanes contain 0.2 M ammonium sulfate and distort equally. Lower sensitivity (1 µg-equivalent per lane).

## 4.3 Sample preparation and gel run

| Component | Volume |
| --- | --- |
| Sample (desalted supernatant, standard in water, or Option B mix) | 20 µl |
| 3× SDS loading buffer | 10 µl |
| 1 M DTT (fresh aliquot) — or β-ME pre-mixed into the buffer (90 µl 3× + 10 µl β-ME, fume hood) | 3 µl |
| Total (load all; fits a 10-well TGX) | 33 µl |

- Heat 95 °C, 5 min; spin briefly. Fill unused wells with 1× loading buffer.

- Standards: 0.25, 0.5 and 1 µg of the same antibody as each supernatant (heavy-chain size varies slightly between antibodies), plus 0.25 µg BSA (66 kDa).

- Mini-PROTEAN TGX 4–20%: fresh 1× Tris/glycine/SDS (25 mM Tris, 192 mM glycine, 0.1% SDS; do not pH-adjust), 200 V constant, ~30–35 min. Remove the green tape; rinse wells.

- Storage: supernatants 4 °C ≤ 1 week or −20 °C for months; samples in loading buffer −20 °C — add fresh DTT and reheat before running.

## 4.4 Staining (Bio-Safe Coomassie G-250)

- Wash gel 3 × 5 min in deionised water (removes SDS; important for sensitivity).

- Stain ≥ 1 h or overnight with gentle shaking (≤ 24 h). Destain in water, changing a few times. Sensitivity ~10–30 ng per band.

## 4.5 Interpretation

| Band | Size (reducing) | Interpretation |
| --- | --- | --- |
| IgG heavy chain | ~50–55 kDa | Primary read-out; compare with same-antibody standards |
| IgG light chain | ~25 kDa | Stains weaker (~1/3 of IgG mass); faint bands expected even with good coupling |
| BSA | ~66 kDa | Expected for ab177178 / ab4729 (carrier); ignore for pass/fail. Should not appear in BSA-free antibodies — if it does, check the supernatant was collected before BSA washes |
| ~75 kDa band in all lanes | ~75 kDa | Incompletely reduced IgG; use fresh DTT and 95 °C 5 min |
| Histone H3 (datasheet “17 kDa”) | ~15–17 kDa | Antibody target, not the antibody; not expected on this gel |

Calculation and pass: % coupled = 1 − (supernatant µg ÷ µg-equivalent loaded), after correcting for recovery-control loss (Option A). Pass ≥ 80%. Example: band ≈ 0.25 µg from 5 µg-equivalent at 50% recovery → ~0.5 µg left → ~90% coupled.

Quick alternative: Qubit Protein assay depletion (supernatant vs a matched no-bead input incubated in parallel) works for BSA-free antibodies (H3K4me3, H3K36me3, IgG). Not valid for ab177178/ab4729 because BSA is measured too. NanoDrop A280 is not reliable below ~0.1 mg/ml.

# 5. Plasma preparation (pre-analytical)

These steps are recommendations from our troubleshooting, not from the published methods. High background in patient plasma (IgG enrichment at active promoters) pointed to contaminating cellular chromatin.

- Collect blood in EDTA tubes and process within 2 h, or use cfDNA-stabilising tubes (Streck BCT or PAXgene ccfDNA).

- Double centrifugation: 1,600 × g, 10 min, 4 °C; transfer plasma without disturbing the buffy coat; then 16,000 × g, 10 min, 4 °C.

- Aliquot and store at −80 °C. Avoid repeated freeze–thaw cycles.

- Record draw-to-spin time, tube type, haemolysis and any cfDNA quantification for every sample.

# 6. cf-chromatin capture, tagmentation and PCR (per Chen et al.)

## 6.1 Capture (Day 1, overnight)

- Prepare beads. Vortex the coupled bead stock. For each reaction take 50 µl (0.05 mg beads, ~1 µg antibody); place on magnet and remove the storage buffer.

- Assemble. To 200 µl plasma add the beads, cOmplete protease inhibitor (1×), 10 mM sodium butyrate and 1 ng S2 spike-in chromatin (1 µl of 1 ng/µl working dilution; Section 2.4). Prepare these additives as one master mix for all wells.

- Capture. Rotate overnight at 4 °C.

## 6.2 Washes (Day 2)

- Wash 3× with cold wash buffer (50 mM Tris-HCl pH 7.4, 150 mM NaCl, 0.5% Triton X-100, 2 mM EDTA, 10 mM sodium butyrate). Plasma is viscous: allow 3–5 min on the magnet for the first separation.

- Wash 1× with 10 mM Tris-HCl pH 7.4. Remove all liquid.

Note: there is no wash after tagmentation. Free Tn5 tags all DNA on the beads, so stringent pre-tagmentation washing is the only specificity step after capture.

## 6.3 Tagmentation, lysis and quench

- Tagment. Resuspend beads in 10 µl tagmentation buffer (10 mM MgCl2, 10 mM TAPS-NaOH pH 8.5, 100 nM barcoded Tn5). Incubate 37 °C, 30 min.

- Lyse. Add 2 µl lysis buffer. Incubate 55 °C, 15 min.

- Quench. Add 5 µl quench buffer. Incubate 37 °C, 15 min.

## Quench buffer recipe (make fresh)

PMSF inactivates proteinase K so it does not digest the KAPA polymerase. PMSF is unstable in water (minutes to an hour at pH 7–8): add it last and use the buffer within ~30 min. Add while flicking or vortexing to avoid precipitation.

| Component | With 100 mM PMSF stock (recommended) | With 10 mM PMSF stock |
| --- | --- | --- |
| Water | 86.4 µl | 50.4 µl |
| 1 M MgCl2 | 6 µl | 6 µl |
| 10% Triton X-100 | 3.6 µl | 3.6 µl |
| PMSF in ethanol (add last) | 4 µl | 40 µl |
| Total (≈ 18 wells at 5 µl) | 100 µl | 100 µl |
| Ethanol in final 50 µl PCR | ≈ 0.4% | ≈ 4% (may reduce yield) |

Any volume V: PMSF = 0.04 × V (100 mM stock) or 0.4 × V (10 mM stock); 1 M MgCl2 = 0.06 × V; 10% Triton = 0.036 × V; water to V. Uniformly low library yields across all wells can indicate degraded PMSF.

## 6.4 PCR enrichment

To each well add:

| Component | Volume |
| --- | --- |
| 5× KAPA HiFi GC buffer (“High GC enhancer buffer” in the paper) | 10 µl |
| 10 mM dNTP mix | 1.5 µl |
| 25 mM MgCl2 | 1 µl |
| KAPA HiFi DNA polymerase (1 U/µl) | 0.5 µl |
| H2O | 17 µl |
| i5 index primer (10 µM)* | 1.5 µl |
| i7 index primer (10 µM)* | 1.5 µl |

*The paper states “10 mM”; 10 µM is the standard working concentration for index primers. Confirm against the paper’s Supplementary Table 2.

| Step | Temperature | Time | Cycles |
| --- | --- | --- | --- |
| Gap fill | 72 °C | 5 min | 1 |
| Initial denaturation | 95 °C | 3 min | 1 |
| Denature | 98 °C | 20 s | 21 |
| Anneal | 65 °C | 30 s | 21 |
| Extend | 72 °C | 1 min | 21 |
| Final extension | 72 °C | 5 min | 1 |
| Hold | 4 °C | ∞ | — |

# 7. Library clean-up and QC

## 7.1 Double 1.2× SPRI clean-up

Per the paper: 1.2× AMPure XP, twice. Commercial SPRI beads (e.g. SPRIselect) behave equivalently at the same ratio; home-made SPRI beads should be checked against AMPure on a test library. Bring beads to room temperature (≥ 30 min) and vortex thoroughly before use.

- Remove the antibody beads. The PCR (~50 µl: 17 µl reaction + 30 µl PCR mix + 3 µl primers) still contains the M-270 beads. Place on a magnet 2 min and transfer the 50 µl supernatant to a fresh tube/well.

- Round 1 bind. Add 60 µl SPRI beads (1.2× of 50 µl). Pipette-mix 10×. Incubate 5 min at RT.

- Separate. Magnet 3–5 min until clear. Discard supernatant.

- Wash. On the magnet, add 200 µl fresh 80% ethanol, wait 30 s, discard. Repeat once. Remove residual ethanol with a P10.

- Dry. Air-dry 2–3 min, until matt but not cracked. Over-drying lowers recovery.

- Elute. Off the magnet, resuspend in 40 µl 10 mM Tris-HCl pH 8.0. 2 min RT, magnet, transfer 40 µl to a fresh tube.

- Round 2 bind. Add 48 µl SPRI beads (1.2× of 40 µl). Repeat binding, separation, two ethanol washes and drying as above.

- Final elution. Resuspend in 22 µl 10 mM Tris-HCl pH 8.0, 2 min, magnet, recover 20 µl. Store at −20 °C.

Cut-off: 1.2× retains fragments above ~150–200 bp, so some ~140 bp adapter dimer remains after two rounds; this is expected with the published method. Optional extra 0.9–1.0× clean-up only if the dimer peak is > 10–15% of area (fragments of 140 bp and ~205 bp are close in size; tighter ratios lose library).

## 7.2 TapeStation / Bioanalyzer

| Feature | Size | Interpretation / action |
| --- | --- | --- |
| Nucleosomal ladder | ~300–320, ~500, ~700 bp (some runs peak ~205–220 bp) | Expected chromatin-derived library |
| Adapter dimer (no insert) | ~135–150 bp | < 10% area: sequence as is. > 10–15%: extra 0.9–1.0× AMPure |
| Sharp ~200 bp peak | ~200 bp | Short-insert products, typical of low-input wells; sequenceable |
| High-molecular-weight material | > 1 kb | Possible genomic DNA from white blood cells; review plasma handling |

Yield is not specificity: with pg-level input and 21 PCR cycles, libraries approach plateau. IgG yields may equal or exceed mark yields. Judge libraries by sequencing metrics (Section 8), not ng/µl.

## 7.3 Library QC on TapeStation D5000

- The lab now uses D5000 (100–5,000 bp). Libraries (~140–1,000 bp) are within range; use High Sensitivity D5000 below ~1 ng/µl.

- D5000 resolves 100–400 bp less sharply than D1000: the ~140 bp adapter dimer appears as a small shoulder and nearby peaks merge. Sizes can differ ~5–15% between tape types — compare D5000 with D5000 only.

- Advantage: material > 1 kb (e.g. white-cell genomic DNA) is sized properly.

- Set a region of 170–1,000 bp and use its molarity for pooling (excludes adapter dimer).

## 7.4 Pooling

A pooling calculator (cfEpi_pooling_20261020.xlsx) computes the dilutions, pool volumes and expected reads from the D5000 molarities.

- Dilute each library to 4 nM in 10 mM Tris-HCl pH 8.0 + 0.1% Tween-20, in low-binding tubes: 2 µl library + diluent, where diluent (µl) = 2 × (molarity ÷ 4 − 1). Mix by pipetting 10×, spin briefly.

- Combine 5 µl of each 4 nM dilution. For broad marks (H3K36me3), use 7.5 µl to give ~1.5× reads. Use a fresh tip per library and pipette slowly.

- Mix and spin the pool; label with pool name, date, concentration, libraries and read configuration.

- QC the pool by library qPCR (preferred) or D5000 + Qubit; expect ~4 nM over 170–1,000 bp.

- Keep the 4 nM dilutions at −20 °C for re-pooling or top-ups.

## 7.5 Sequencing submission

- Paired-end 2 × 50 bp (2 × 75 bp also fine; the paper used 2 × 150 bp). Enrichment metrics depend on unique fragments, not read length.

- Dual index reads (8 bp i7 + 8 bp i5). Give the facility both index orientations and the index-set name; they choose per instrument.

- If all libraries share one i5, demultiplexing uses i7; ask the facility to check for index clashes if the lane is shared with other users.

- Prefix sample names with the date (e.g. 20261020_cfEpi_1) so FASTQ files never clash with earlier batches.

- Depth: QC runs 5–10 M read pairs per library; analysis ≥ 10 M (H3K36me3 20–30 M). Add depth for dm6 (S2) reads at ~1 ng spike-in. Request ~120 M pairs for a 14-library pool.

- Note in the sample sheet any libraries given an extra SPRI clean-up (they may show slightly higher duplication).

# 8. Sequencing data QC

Required outputs from the pipeline: deduplicated BAM/bigWig (hg38), unique fragments, duplication rate, and reads mapping to dm6 (S2 spike-in; requires alignment to a combined hg38 + dm6 reference).

| Metric (scripts: cfepi_qc.py, cfepi_k36.py) | H3K4me3 | H3K27ac | H3K36me3 | IgG |
| --- | --- | --- | --- | --- |
| TSS/flank (TSS ±500 bp vs 4–5 kb flanks) | ≥ 10 (HC1 benchmark 18.7) | > 5 (HC1: 5.2) | ~1–2 | ~1 (or < 1) |
| Gene-body active/silent (genes ≥ 10 kb) | ~1 | ~1–1.5 | > 2 (HC1 Aug: 1.16 = fail) | ~1 |
| TSS active/silent | High | > 3 | — | ~1 (> 1.3 suggests cellular-chromatin background) |
| S2 (dm6) read fraction | Similar across samples | Similar | Similar | Low |

- IgG with TSS enrichment above 1 indicates non-specific tagmentation of accessible cellular chromatin (ATAC-like background).

- Normal S2 capture with low human enrichment points to the sample (background or antibody saturation). Low S2 capture points to a failed well or failed beads.

# 9. Troubleshooting

| Observation | Likely cause | Action |
| --- | --- | --- |
| Mark ≈ IgG on TSS/flank or gene-body metrics | Poor coupling; antibody lot; too little antibody | Check supernatant gel; recouple fresh; try 2 µg/reaction; new lot or alternative antibody |
| H3K36me3 gene-body active/silent < 1.5 | Coupling or lot (formulation is compatible) | Gel QC; recouple with authors’ conditions; titrate 1 vs 2 µg; new lot |
| H3K27ac weak | ab4729 lot variation; 1% BSA reduces coupling | Switch to ab177178 (author recommendation) |
| IgG enriched at active TSSs (patient plasma) | Cellular chromatin / WBC lysis | Double spin; faster processing; stabilising tubes; compare 100 vs 200 µl plasma |
| Large ~140 bp peak | Low template; Tn5 adapter dimers | Extra 0.9–1.0× AMPure if > 10–15% area |
| Library peaks > 1 kb | Genomic DNA contamination | Review plasma handling; second high-speed spin |
| BAL samples flat or ≈ IgG | Matrix not validated; cells or debris | Separate optimisation: cell removal, input volume, cfDNA QC |

# 10. Notes from author correspondence

- Active Motif 91103 and 91265 were coupled directly from their supplied storage buffers, without buffer exchange; the post-coupling supernatant gel showed minimal remaining antibody.

- Coupling conditions were not adjusted per antibody: 48 h at 4 °C or 36 h at RT, with antibody-to-bead ratios per the manufacturer.

- Abcam ab4729 generally works but shows occasional lot-to-lot variation; ab177178 has performed better and more consistently in their recent experiments.

- Washing coupled beads with PBS + 0.1% BSA rather than PBS alone helps reduce non-specific background.

- S2 spike-in: ~3,000 lightly fixed (1% FA, 5 min on ice), sonicated (~300 bp) S2 cells ≈ 1 ng DNA per 200 µl plasma; DNA quantified by Qubit after phenol–chloroform extraction.

- Open questions: whether storage buffer also contains BSA; exact µg antibody per mg beads; whether the first BSA wash includes an incubation; typical QC thresholds and dm6 read fractions for healthy plasma.