Improving cf-EpiTracing Library Complexity

Diagnosis from sequencing run 20261026 and pilot experiment plan

Prepared for H. Ludewick. Version 1.3, 30 October 2026. Companion to the cf-EpiTracing Bench Protocol (v1.3) and the QC summary workbook (cfEpi_20261026_QC_summary.xlsx).

# 1. Summary

The 24 libraries from run 20261026 show that cf-EpiTracing works for H3K4me3, H3K27ac, H3K9ac and H3K36me3, with clean IgG controls. However, every library was sequenced to near saturation: most contain only 0.5–2.3 million distinct molecules. Library complexity, not sequencing depth or antibody specificity, is the main limitation and the main reason enrichment (FRiP) is below Chen et al. (2026) at the same plasma volume. Complexity is fixed before PCR, so improvements must come from the wet lab: input, capture, tagmentation and recovery.

Main hypothesis: our in-house Tn5 is effectively over-dosed at 100 nM, cutting cf-chromatin into fragments too short to map (fragment mode ~55–65 bp; Chen median 123 bp). Titrating Tn5 down, together with more reproducible dosing, should give more mappable molecules from the same captured chromatin.

# 2. Diagnosis

## 2.1 All libraries are saturated

Library size (distinct molecules) was estimated from aligned read pairs and duplication rate (Lander–Waterman model).

| Group | Estimated distinct molecules | Saturation | Implication |
| --- | --- | --- | --- |
| Most libraries | 0.5–2.3 M | 86–100% | More sequencing adds almost nothing |
| Best (H3K36me3 cfEpi_12, 17, 22) | 5.0–5.9 M | 86–100% | Broad mark, more target |
| Weakest (cfEpi_5, 14, 15, 16, 18, 24) | 0.45–0.6 M | ~100% | Very few captured molecules |

## 2.2 Comparison with Chen et al. (2026)

| Mark | Chen 25–50 µl | Chen 200 µl | cfChIP (Sadeh) | This study (200 µl) |
| --- | --- | --- | --- | --- |
| H3K4me3 FRiP | 57–62% | ~72% | 16–26% | 32–49% |
| H3K4me3 reads | 1.9–3.6 M | ~4.7 M | 0.2–0.5 M | 0.9–3.3 M |
| H3K27ac FRiP | 51–53% | ~69% | 17–26% | 8–43% (new conjugate 42.7%) |

Our 200 µl libraries perform similarly to Chen et al. at 25–50 µl and far better than cfChIP. Chen values read from the published Extended Data figure (approximate).

## 2.3 Where molecules are lost

200 µl of healthy plasma holds ~1–5 ng cfDNA (~300–1,500 genome copies), i.e. on the order of 10⁷–10⁸ marked nucleosome fragments per capture. We recover ~10⁶, so only ~1–10% reach the final library.

| Step | Mechanism of loss | Evidence in our data |
| --- | --- | --- |
| 1. Input | Low cfDNA in some plasma; freeze–thaw damage | HC9: high S2 fraction (12–28%), less human chromatin |
| 2. Capture | Antibody amount/activity; bead loss in viscous plasma washes | H3K36me3 varies with bead batch |
| 3. Tagmentation (main suspect) | Over-cutting to fragments < ~40 bp (unmappable); same-adapter ends not amplified | Fragment mode ~55–65 bp with sharp cut-off at ~45 bp; less-tagmented batch cfEpi_7–9 had longer fragments and 89–96% alignment |
| 4. Proteinase K / PMSF / PCR | Residual proteinase K damages polymerase | Not evident; keep PMSF fresh |
| 5. Clean-ups | Each SPRI round loses molecules | Re-cleaned cfEpi_1–6 among the least complex |

# 3. Improvement levers (ranked)

| # | Change | Expected effect | Cost |
| --- | --- | --- | --- |
| 1 | Titrate Tn5: 100 (current) vs 50 vs 25 nM, 10 µl, 37 °C 30 min | Longer, mappable fragments; fewer adapter dimers; more distinct molecules | Cheap |
| 2 | Reproducible Tn5 dosing: master mix, pre-diluted Tn5, complete removal of last wash | Consistent tagmentation between wells and batches | Free |
| 3 | More plasma: 400 µl with 2 µg antibody and 0.1 mg beads | Up to ~2× input molecules | More plasma |
| 4 | Bead handling: low-binding tubes; 3–5 min on magnet for plasma | Less bead loss | Free |
| 5 | Antibody amount 1 vs 2 µg (esp. H3K36me3) | More capture if antibody-limited | Antibody |
| 6 | PCR cycles set per sample by qPCR side-reaction | Less over-amplification and GC bias (does not add molecules) | Small |
| 7 | Avoid extra clean-ups; fresh PMSF | Less loss | Free |

# 4. Tn5: in-house batch considerations

Our Tn5 is made in-house, loaded with MEA/MEB, and is less than 6 months old. This is a sound basis, but:

- "100 nM" is not equivalent to Chen et al.'s 100 nM. In-house concentrations are usually based on total protein; the active, loaded fraction varies between preparations. Our short fragments suggest our effective dose is higher. Titration is essential.

- Glycerol stocks are hard to pipette in small volumes. Well-to-well variation in Tn5 likely explains batch differences in fragment size (cfEpi_7–9 longer; cfEpi_17/22 shortest).

- Contaminating DNA is not an issue: only ~1.2% of unaligned reads mapped to E. coli.

- Barcoded Tn5 adapters in Chen et al. (shortT5/shortT7) are for multiplexing many samples (two-round barcoding), not for complexity. Standard MEA/MEB is appropriate at our scale.

## 4.1 Tn5 activity test (one afternoon; full protocol in Appendix B)

| Tube | Lambda DNA (or human gDNA) | Loaded Tn5 (final) |
| --- | --- | --- |
| 1 | 40 ng | 0 (no-enzyme control) |
| 2 | 40 ng | 12.5 nM |
| 3 | 40 ng | 25 nM |
| 4 | 40 ng | 50 nM |
| 5 | 40 ng | 100 nM (current) |
| 6 (optional) | 40 ng | Commercial Tn5 (e.g. Illumina TDE1) at recommended amount |

- Use the cf-EpiTracing tagmentation buffer (10 mM MgCl₂, 10 mM TAPS-NaOH pH 8.5); 37 °C, 30 min.

- Stop with SDS (0.2% final) or the cf-EpiTracing lysis buffer; clean up (1.8× SPRI or column).

- Run on TapeStation D5000 (or Genomic DNA ScreenTape).

- Interpretation: choose the dose giving a broad smear centred ~200–600 bp (moderate). A smear mostly < 150 bp indicates over-tagmentation. Record the result as the reference for this Tn5 batch.

## 4.2 Reproducible dosing

- Prepare one tagmentation master mix (buffer + Tn5) for all wells; mix thoroughly (glycerol settles); add 10 µl per well.

- Pre-dilute Tn5 in Tn5 dilution/storage buffer so the volume pipetted into the master mix is ≥ 1–2 µl.

- Remove the final Tris wash completely before adding the master mix (residual liquid dilutes Mg²⁺ and Tn5).

- Keep Tn5 cold during set-up; start all wells together on a pre-heated 37 °C block.

## 4.3 Loading quality (next batch)

- Anneal MEA + MErev and MEB + MErev separately as equimolar duplexes; mix A and B 1:1 before loading (only A–B fragments amplify).

- Use a consistent adapter:Tn5 molar ratio (~1:1 to 2:1); excess free adapter promotes adapter dimers.

- Store at −20 °C in 50% glycerol, aliquoted; avoid freeze–thaw; record batch ID for every experiment.

# 5. Pilot experiment

## 5.1 Design

One donor with ample plasma (pool and aliquot), H3K4me3 (robust mark) and IgG, duplicates, 1 ng S2 per 200 µl plasma, Tn5 added as master mix.

| Condition | Plasma | Tn5 (in-house batch) | Antibody | Replicates |
| --- | --- | --- | --- | --- |
| A (current) | 200 µl | 100 nM | 1 µg | 2 |
| B | 200 µl | 50 nM | 1 µg | 2 |
| C | 200 µl | 25 nM | 1 µg | 2 |
| D | 400 µl | Best of A–C (or 50 nM) | 2 µg | 2 |
| IgG-1 | 200 µl | 100 nM | 1 µg IgG | 1 |
| IgG-2 | 200 µl | 50 nM | 1 µg IgG | 1 |

Total: 10 libraries. Condition D can be run in a second round once the best Tn5 dose is known.

## 5.2 Readouts

| Readout | How | Target |
| --- | --- | --- |
| Distinct molecules (library size) | Duplication model or preseq on BAMs (keep pre-dedup BAMs) | ≥ 2× condition A (main outcome) |
| Fragment-size median | samtools stats | Closer to ~120 bp (Chen median 123 bp) |
| Alignment rate; adapter-dimer % | bowtie2 log; adapter grep | Higher alignment; dimer < 1% |
| TSS/flank, FRiP, % reads at TSS | cfepi_qc.py, MACS3, samtools | Equal or better than condition A |
| Unique S2 (dm6) fragments | idxstats on deduplicated BAM | Capture/library efficiency (constant S2 input) |
| TapeStation profile | D5000, 170–1,000 bp region | Less dimer; library peak shifted up |

Sequencing: about 3–5 M read pairs per library, 2 × 50 bp, is sufficient to estimate complexity for each condition.

## 5.3 Decision

- If lower Tn5 gives longer fragments and more distinct molecules without loss of TSS enrichment, adopt that dose for all marks.

- If 400 µl plasma roughly doubles distinct molecules, use it where plasma volume allows.

- Then repeat the full panel (H3K4me3, H3K27ac new conjugate, H3K9ac, H3K36me3, IgG) on 1–2 donors under the improved conditions.

# 6. Other recommendations

- Include a clean IgG for every donor and batch; set IgG up first with fresh tips.

- Label bead tubes clearly and use a written plate map (avoids mix-ups such as cfEpi_9 and cfEpi_24).

- Use the new H3K27ac conjugate (best H3K27ac library) and the H3K36me3 bead batch that worked (cfEpi_12/17/22).

- Investigate the foreign DNA in batch cfEpi_1–6 (20–60% alignment): BLAST representative reads; use DNA-free BSA for bead washes.

- Request 5–10 M read pairs per library; current libraries were sequenced beyond their complexity.

- Record cfDNA amount per donor (Qubit of extracted cfDNA from a parallel aliquot) to separate input effects from technique.

# 7. Reference

Chen et al. Cell-free chromatin state tracing reveals disease origin and therapy responses. Nature (2026). DOI: 10.1038/s41586-026-10224-0 (PMC13171458).

# Appendix A. In-house Tn5 batch: record and QC

## A.1 Batch record

| Item | Details |
| --- | --- |
| Construct | pTXB1-Tn5 (from Trung); expressed in BL21(DE3) (NEB) |
| Culture | 10 ml overnight (OD600 0.042 at inoculation) into 1 L LB + amp; 200 rpm; OD600 1.074 after 3 h 20 min |
| Induction | 0.25 mM IPTG (250 µl of 1 M per 1 L); 25 °C, 4 h, 100 rpm; final OD600 2.25; pellet stored at −80 °C |
| Purification | Chitin column (intein cleavage); ~3 ml concentrated in 30 kDa Amicon (3,500 g, 5-min intervals, ~20 min) |
| Concentration | A280 = 33.4 → ~385 µM (ε ≈ 86,900 M⁻¹cm⁻¹); to be confirmed by SDS-PAGE/Bradford (see A.3) |
| Storage buffer (Chen et al.) | 50 mM HEPES pH 7.2, 100 mM NaCl, 0.1 mM EDTA, 1 mM DTT, 0.1% Triton X-100, 60% glycerol |
| Loaded stock | 37.5 µM Tn5 + 37.5 µM annealed MEA/MEB adapters (1:1), 1 h RT; liquid at −20 °C; use within 6 months |

## A.2 Assembly (50 µl loaded stock, 37.5 µM)

| Component | Stock | Volume | Final |
| --- | --- | --- | --- |
| Tn5 | ~385 µM | 4.87 µl | 37.5 µM |
| Storage buffer | — | 25.83 µl | — |
| Protease inhibitor cocktail | 100× | 0.5 µl | 1× |
| Annealed adapters (MEA/MErev + MEB/MErev, 1:1) | 100 µM total | 18.75 µl | 37.5 µM |
| Total |  | 50 µl | 37.5 µM |

Premix used: 48.7 µl Tn5 + 258.3 µl storage buffer, aliquoted at 31.25 µl; add 18.75 µl annealed adapters per aliquot (≈ 38 µM final). PIC is not in the premix — add with the adapters if required. Final glycerol ≈ 32%; stock confirmed liquid at −20 °C.

## A.3 QC checks

| Check | Method | Expected / action |
| --- | --- | --- |
| Protein concentration | SDS-PAGE vs BSA standards (0.5, 1, 2 µg) or Bradford | A280 may be inflated if Triton X-100 was concentrated in the 30 kDa Amicon (micelles are retained). Recalculate the loaded-stock concentration if different |
| Purity / cleavage | SDS-PAGE, Coomassie | Major band ~53 kDa (Tn5); little ~81 kDa (uncleaved fusion) or ~28 kDa (intein–CBD) |
| Adapter annealing | Protocol check | Typically 95 °C 2–5 min then slow cool to RT; MEA and MEB duplexes mixed 1:1 before loading |
| Storage state | Inspect at −20 °C | Liquid (confirmed): no freeze–thaw |
| Activity | Lambda titration (Appendix B) | Defines the effective dose for this batch; repeat for every new batch |

## A.4 Handling

- Keep at −20 °C; take out briefly onto ice or a cold block. Mix gently before use; do not vortex hard.

- Never pipette stock directly into wells: 100 nM in 10 µl needs only 0.027 µl of 37.5 µM stock. Always use working dilutions (A.5).

- Record batch ID and loading date for every experiment.

## A.5 Working dilutions from 37.5 µM stock (in dilution buffer, on ice)

Dilution buffer: Chen et al. storage buffer (50 mM HEPES pH 7.2, 100 mM NaCl, 0.1 mM EDTA, 0.1% Triton X-100, 60% glycerol) with 1 mM DTT added fresh on the day (1 µl of 1 M DTT per 1 ml; keep a DTT-free base buffer and frozen 1 M DTT aliquots). DTT oxidises in solution, and dilute Tn5 is more sensitive to oxidation. Use the same freshly made buffer for all dilutions and the no-enzyme control.

| Dilution | Recipe | Concentration |
| --- | --- | --- |
| Intermediate | 4 µl stock + 26 µl buffer | 5 µM (can be kept at −20 °C) |
| Working 1 | 10 µl of 5 µM + 90 µl buffer | 500 nM |
| Working 2 | 40 µl of 500 nM + 40 µl buffer | 250 nM |
| Working 3 | 40 µl of 250 nM + 40 µl buffer | 125 nM |
| Working 4 | 40 µl of 125 nM + 40 µl buffer | 62.5 nM |

2 µl of working stock in a 10 µl reaction gives 100 / 50 / 25 / 12.5 nM final. For cf-EpiTracing, build the chosen working stock into the tagmentation master mix (e.g. 2 µl of 500 nM per well for 100 nM).

# Appendix B. Tn5 activity titration protocol

Lambda DNA (e.g. NEB N3011 or Thermo SD0011) is recommended as the standard: identical in every lot, cheap, and ideal for comparing Tn5 batches over time. Human genomic DNA also works. Neither models cf-chromatin; this test calibrates relative activity, and the cf-EpiTracing pilot sets the final dose.

## B.1 Materials

- Tn5 working dilutions (Appendix A.5) and dilution buffer with fresh 1 mM DTT for the no-enzyme control (2 µl per 12 µl reaction gives ~0.17 mM DTT and ~10% glycerol in every tube — no effect on tagmentation)

- Lambda DNA, NEB N3011 (500 µg/ml = 500 ng/µl): dilute to 10 ng/µl — 2 µl stock + 98 µl 10 mM Tris-HCl pH 8.0 = 100 µl (enough for ~25 reactions). Mix by gentle flicking or slow pipetting with a wide-bore tip (48.5 kb DNA shears easily); spin briefly. Store the dilution at 4 °C for up to ~1 month; keep the stock at −20 °C.

- 2× tagmentation buffer: 20 mM MgCl₂, 20 mM TAPS-NaOH pH 8.5

- cf-EpiTracing lysis buffer (60 mM Tris pH 8.0, 60 mM EDTA, 0.25% SDS, 0.6 mg/ml proteinase K)

- SPRI/AMPure beads, fresh 80% ethanol, 10 mM Tris-HCl pH 8.0; TapeStation D5000 (or High Sensitivity D5000)

## B.2 Reaction set-up (12 µl, on ice; duplicates recommended)

| Component | Volume |
| --- | --- |
| 2× tagmentation buffer | 6 µl |
| Lambda DNA (10 ng/µl) | 4 µl (40 ng) |
| Tn5 working dilution — add last (dilution buffer for tube 1) | 2 µl |
| Total | 12 µl |

Tubes: 1 no enzyme; 2 12.5 nM-equivalent (62.5 nM working); 3 25 nM (125 nM); 4 50 nM (250 nM); 5 100 nM (500 nM); 6 optional commercial Tn5.

## B.3 Procedure

- Tagment: mix gently, spin briefly; 37 °C, 30 min (thermocycler, lid 50 °C). Start all tubes together.

- Stop and release Tn5: add 2 µl lysis buffer; 55 °C, 15 min (essential for correct TapeStation sizing).

- Clean up: add 36 µl water (~50 µl), then 90 µl SPRI beads (1.8×); 5 min RT; magnet; 2 × 200 µl 80% ethanol; air-dry 2–3 min; elute in 15 µl 10 mM Tris pH 8.0; recover 14 µl.

- Store (optional): low-binding tubes labelled with dose, date and Tn5 batch; −20 °C for weeks to months (4 °C for 1–2 days).

- TapeStation: D5000 — 1 µl sample + 10 µl D5000 sample buffer (or HS D5000 — 2 µl + 2 µl if < 0.5 ng/µl). Run all doses on one tape; set region 100–5,000 bp.

## B.4 Interpretation

| Profile | Meaning |
| --- | --- |
| Tube 1: single band near/above top of sizing range | Intact lambda (48.5 kb) reference |
| Smear mostly > 1 kb | Under-tagmentation |
| Broad smear centred ~200–600 bp | Moderate — target |
| Smear mostly < 150–200 bp | Over-tagmentation (suspected at current 100 nM) |

- Record peak size, average size and % < 200 bp for each dose and batch.

- If 100 nM already pushes lambda below 200 bp, prioritise 50 and 25 nM in the cf-EpiTracing pilot.

- With a commercial comparator, note which in-house dose matches its profile.

- Repeat for every new Tn5 batch with the same lambda lot, amount and conditions; keep a log.