cf-EpiTracing Bench Protocol

Antibody–bead coupling, plasma cf-chromatin capture, tagmentation, library preparation and QC

Based on Chen et al., Nature 2026 (cf-EpiTracing), with clarifications from the corresponding authors and in-house troubleshooting. Version 1.0, 7 October 2026. Prepared for H. Ludewick.

# 1. Overview

cf-EpiTracing captures histone-marked cell-free chromatin (cf-chromatin) directly from plasma using antibodies covalently coupled to Dynabeads M-270 Epoxy. After washing, free Tn5 loaded with barcoded adapters tags all DNA on the beads; specificity therefore comes entirely from immunocapture and the pre-tagmentation washes. Libraries are amplified directly from the bead reaction and sequenced paired-end.

| Stage | Time | Section |
| --- | --- | --- |
| Antibody preparation and bead coupling (10 µg scale) | Day 1 + 36–48 h incubation | 3 |
| Post-coupling washes, storage and coupling QC gel | Day 3 (~3 h) | 3–4 |
| Plasma preparation | Same day as blood draw | 5 |
| cf-chromatin capture (overnight) | Day 1 → Day 2 | 6 |
| Tagmentation, lysis, PCR, clean-up | Day 2 (~4 h) | 6–7 |
| Library QC, pooling, sequencing, data QC | After library prep | 7–8 |

Key changes from the published methods: post-coupling washes use PBS + 0.1% BSA (author recommendation); H3K27ac uses Abcam ab177178 (author recommendation; ab4729 shows lot-to-lot variation); an IgG control and a coupling-supernatant QC gel are included in every batch.

# 2. Reagents and antibodies

## 2.1 Antibodies

Use all antibodies as supplied: the authors did not buffer-exchange before coupling. Record the lot number and concentration of every vial.

| Mark | Antibody (cat. no.) | Formulation | Prep before coupling |
| --- | --- | --- | --- |
| H3K4me3 | Diagenode C15200152 | Check datasheet | As supplied |
| H3K27ac | Abcam ab177178 (preferred) Abcam ab4729 (alternative) | ab177178: 0.05% BSA ab4729: PBS, 1% BSA, 0.02% azide | As supplied. Use the carrier-free (BSA/azide-free) format of ab177178 if Abcam offers one. If using ab4729, request a different lot if performance is poor. |
| H3K36me3 | Active Motif 91265 | Protein A purified IgG; 140 mM HEPES pH 7.5, 70 mM NaCl, 32 mM NaOAc, 0.035% azide, 30% glycerol | As supplied (authors confirmed efficient coupling) |
| IgG control | Normal IgG, same host species as the primaries | Carrier-free preferred | As supplied |
| Other marks in the paper | H3K4me1 Diagenode C15410194; H3K4me2 Diagenode C15410035; H3K9ac Active Motif 91103; H3K27me3 CST 9733S; H3K9me3 Abcam ab8898 | — | As supplied |

Avoid: Tris, glycine or other primary-amine buffers, and high concentrations of carrier protein (e.g. 1% BSA, gelatin, whole serum). They compete with the antibody for the epoxy groups.

## 2.2 Buffers

| Buffer | Composition | Storage |
| --- | --- | --- |
| Buffer A (coupling) | 0.1 M sodium phosphate, pH 7.4 | 4 °C, up to 1 month |
| Buffer B (coupling) | 3 M ammonium sulfate in Buffer A | RT, up to 1 month |
| PBS | pH 7.4, no azide | RT |
| PBS + 0.1% BSA (post-coupling wash) | PBS + 0.1% nuclease-free, molecular-biology-grade BSA (e.g. UltraPure BSA) | Fresh, or 0.22 µm filtered, 4 °C, ≤ 1 week |
| Antibody storage buffer | PBS + 0.05% sodium azide | 4 °C |
| Wash buffer (capture) | 50 mM Tris-HCl pH 7.4, 150 mM NaCl, 0.5% Triton X-100, 2 mM EDTA, 10 mM sodium butyrate | 4 °C; add butyrate fresh |
| Tris wash | 10 mM Tris-HCl, pH 7.4 | 4 °C |
| Tagmentation buffer (10 µl/well) | 10 mM MgCl2, 10 mM TAPS-NaOH pH 8.5, 100 nM barcoded Tn5 | Prepare fresh on ice |
| Lysis buffer (2 µl/well) | 60 mM Tris-HCl pH 8.0, 60 mM EDTA, 0.25% SDS, 0.6 mg/ml Proteinase K (Qiagen) | Prepare fresh |
| Quench buffer (5 µl/well) | 60 mM MgCl2, 0.36% Triton X-100, 4 mM PMSF | Add PMSF fresh |

## 2.3 Other materials

- Dynabeads M-270 Epoxy (Invitrogen 14301)

- Magnetic rack, end-over-end rotator (Tube Revolver, 8–15 rpm) at 4 °C or room temperature

- Low-binding 1.5 ml tubes

- cOmplete protease inhibitor (Roche), sodium butyrate, Drosophila S2 chromatin (spike-in)

- KAPA HiFi DNA polymerase kit, dNTPs, i5/i7 index primers

- AMPure XP beads, fresh 80% ethanol

- Qubit dsDNA HS, TapeStation D1000/HS D1000, library quantification qPCR kit

- SDS-PAGE reagents (reducing), Coomassie (sensitive) or silver stain

# 3. Antibody–bead coupling (10 µg antibody scale)

Scale per antibody: 10 µg antibody on 0.5 mg beads (20 µg/mg), matching the published ~1 µg antibody per 0.05 mg beads per reaction. This makes 10 reactions at 1 µg (50 µl beads each) or 5 reactions at 2 µg (100 µl each).

Do all marks together: couple H3K4me3, H3K27ac, H3K36me3 and IgG in one session from the same bead stock and buffers, so batches can be compared directly.

## 3.1 Day 1: bead preparation

- Equilibrate. Let the closed bead vial reach room temperature (~30 min) before opening, so moisture does not condense on the powder.

- Weigh. Weigh ~2.5 mg of lyophilised beads (enough for 4 antibodies plus spare) into a low-binding tube. Record the exact mass. Close the vial promptly.

- Resuspend. Add Buffer A to 10 mg/ml (e.g. 250 µl for 2.5 mg). Vortex 30 s, then rotate 10 min at RT.

- Wash. Place on magnet 1 min; discard supernatant. Resuspend in the same volume of Buffer A (10 mg/ml) and vortex.

- Aliquot. Vortex immediately before each draw and pipette 50 µl (0.5 mg) into one labelled tube per antibody. Place on magnet and remove buffer completely.

Timing: epoxy groups hydrolyse once wet. Add the antibody within ~30 min of resuspending the beads.

## 3.2 Day 1: coupling reaction (60 µl total)

Add components to the washed beads in this order:

| Component | Volume | Notes |
| --- | --- | --- |
| Antibody (10 µg) | X µl = 10 ÷ conc. (µg/µl) | e.g. 10 µl at 1 µg/µl (91265) |
| Buffer A | 40 − X µl | e.g. 30 µl when X = 10 |
| Buffer B (3 M ammonium sulfate) | 20 µl | Final 1 M ammonium sulfate |
| Total | 60 µl | Beads ≈ 8 mg/ml |

If X > 40 µl (dilute antibody), keep Buffer B at one-third of the final volume: Buffer B = (X + Buffer A) ÷ 2. With 91265 (30% glycerol), 10 µl in 60 µl gives 5% glycerol, which is acceptable.

- Mix. Flick or briefly vortex. Seal caps with Parafilm.

- Incubate. Rotate end-over-end at 8–15 rpm for 48 h at 4 °C or 36 h at room temperature (authors’ standard conditions). Check that beads remain suspended; flick occasionally or use a 0.5 ml tube for small volumes.

## 3.3 Day 3: post-coupling washes and storage

- Collect supernatant. Magnet 2 min. Transfer the entire supernatant (~60 µl) to a labelled tube and keep at 4 °C for the QC gel (Section 4). Do this before any BSA contacts the beads.

- Block and wash. Wash 4× with 0.5 ml PBS + 0.1% BSA (author recommendation; reduces non-specific background). Rotate the first wash 15–30 min at RT to block remaining epoxy sites. For each wash: resuspend → magnet 1–2 min → discard.

- Resuspend for storage. Resuspend in 500 µl antibody storage buffer (PBS + 0.05% azide) to give 1 mg/ml beads (~1 µg antibody per 50 µl).

- Store. 4 °C. Never freeze. Label with antibody, lot, coupling date, “10 µg / 0.5 mg”, and conditions (4 °C 48 h or RT 36 h).

Do not add BSA to the coupling reaction itself. It competes with the antibody for epoxy groups.

# 4. Coupling QC gel (required for every coupling)

Reducing SDS-PAGE (10% or 4–20% gradient) with a marker covering 25–75 kDa. The 60 µl supernatant initially held 10 µg antibody, so 6 µl corresponds to 1 µg if nothing coupled.

| Lane | Load |
| --- | --- |
| Marker | Covering 25, 50 and 75 kDa |
| Antibody standard | 0.5 µg uncoupled antibody |
| Antibody standard | 1 µg uncoupled antibody |
| Coupling supernatant | 6 µl supernatant + 24 µl water (dilutes 1 M ammonium sulfate, which smears lanes) + loading buffer |
| BSA marker (optional) | 0.25 µg BSA (66 kDa) |

| Band | Size (reducing) | Interpretation |
| --- | --- | --- |
| IgG heavy chain | ~50 kDa | Should be largely depleted from supernatant |
| IgG light chain | ~25 kDa | Should be largely depleted from supernatant |
| BSA (if present in formulation) | ~66 kDa | Expected in ab177178/ab4729 lanes; ignore for pass/fail |
| Histone H3 (datasheet “17 kDa”) | ~15–17 kDa | This is the antibody target, not the antibody; not expected on this gel |

Pass: supernatant IgG bands clearly weaker than the 0.5 µg standard (≥ 50% coupled; ideally ≥ 80%). Use silver stain or sensitive Coomassie (detection ≈ 50–100 ng per band). If a coupling fails, do not use those beads on samples.

# 5. Plasma preparation (pre-analytical)

These steps are recommendations from our troubleshooting, not from the published methods. High background in patient plasma (IgG enrichment at active promoters) pointed to contaminating cellular chromatin.

- Collect blood in EDTA tubes and process within 2 h, or use cfDNA-stabilising tubes (Streck BCT or PAXgene ccfDNA).

- Double centrifugation: 1,600 × g, 10 min, 4 °C; transfer plasma without disturbing the buffy coat; then 16,000 × g, 10 min, 4 °C.

- Aliquot and store at −80 °C. Avoid repeated freeze–thaw cycles.

- Record draw-to-spin time, tube type, haemolysis and any cfDNA quantification for every sample.

# 6. cf-chromatin capture, tagmentation and PCR (per Chen et al.)

## 6.1 Capture (Day 1, overnight)

- Prepare beads. Vortex the coupled bead stock. For each reaction take 50 µl (0.05 mg beads, ~1 µg antibody); place on magnet and remove the storage buffer.

- Assemble. To 200 µl plasma add the beads, cOmplete protease inhibitor (1×), 10 mM sodium butyrate and S2 chromatin spike-in (amount per the paper’s supplementary methods; keep identical across wells).

- Capture. Rotate overnight at 4 °C.

## 6.2 Washes (Day 2)

- Wash 3× with cold wash buffer (50 mM Tris-HCl pH 7.4, 150 mM NaCl, 0.5% Triton X-100, 2 mM EDTA, 10 mM sodium butyrate). Plasma is viscous: allow 3–5 min on the magnet for the first separation.

- Wash 1× with 10 mM Tris-HCl pH 7.4. Remove all liquid.

Note: there is no wash after tagmentation. Free Tn5 tags all DNA on the beads, so stringent pre-tagmentation washing is the only specificity step after capture.

## 6.3 Tagmentation, lysis and quench

- Tagment. Resuspend beads in 10 µl tagmentation buffer (10 mM MgCl2, 10 mM TAPS-NaOH pH 8.5, 100 nM barcoded Tn5). Incubate 37 °C, 30 min.

- Lyse. Add 2 µl lysis buffer. Incubate 55 °C, 15 min.

- Quench. Add 5 µl quench buffer. Incubate 37 °C, 15 min.

## 6.4 PCR enrichment

To each well add:

| Component | Volume |
| --- | --- |
| 5× KAPA HiFi GC buffer (“High GC enhancer buffer” in the paper) | 10 µl |
| 10 mM dNTP mix | 1.5 µl |
| 25 mM MgCl2 | 1 µl |
| KAPA HiFi DNA polymerase (1 U/µl) | 0.5 µl |
| H2O | 17 µl |
| i5 index primer (10 µM)* | 1.5 µl |
| i7 index primer (10 µM)* | 1.5 µl |

*The paper states “10 mM”; 10 µM is the standard working concentration for index primers. Confirm against the paper’s Supplementary Table 2.

| Step | Temperature | Time | Cycles |
| --- | --- | --- | --- |
| Gap fill | 72 °C | 5 min | 1 |
| Initial denaturation | 95 °C | 3 min | 1 |
| Denature | 98 °C | 20 s | 21 |
| Anneal | 65 °C | 30 s | 21 |
| Extend | 72 °C | 1 min | 21 |
| Final extension | 72 °C | 5 min | 1 |
| Hold | 4 °C | ∞ | — |

# 7. Library clean-up and QC

## 7.1 Clean-up

- Purify twice with 1.2× AMPure XP beads (per the paper). Elute in 20–25 µl 10 mM Tris pH 8.0.

- Optional extra clean-up at 0.9–1.0× only if the ~140 bp adapter-dimer peak is > 10% of area. Fragments of 140 bp and ~205 bp are close in size; tighter ratios lose library.

## 7.2 TapeStation / Bioanalyzer

| Feature | Size | Interpretation / action |
| --- | --- | --- |
| Nucleosomal ladder | ~300–320, ~500, ~700 bp (some runs peak ~205–220 bp) | Expected chromatin-derived library |
| Adapter dimer (no insert) | ~135–150 bp | < 10% area: sequence as is. > 10–15%: extra 0.9–1.0× AMPure |
| Sharp ~200 bp peak | ~200 bp | Short-insert products, typical of low-input wells; sequenceable |
| High-molecular-weight material | > 1 kb | Possible genomic DNA from white blood cells; review plasma handling |

Yield is not specificity: with pg-level input and 21 PCR cycles, libraries approach plateau. IgG yields may equal or exceed mark yields. Judge libraries by sequencing metrics (Section 8), not ng/µl.

## 7.3 Pooling

- Quantify molarity over ~170–1,000 bp (excludes adapter dimer) in the TapeStation software.

- Confirm by library qPCR, especially if the ScreenTape is expired.

- Sequence paired-end 150 bp (DNBSEQ-T7 in the paper). For QC runs, 1–2 M read pairs per library is enough.

# 8. Sequencing data QC

Required outputs from the pipeline: deduplicated BAM/bigWig (hg38), unique fragments, duplication rate, and reads mapping to dm6 (S2 spike-in; requires alignment to a combined hg38 + dm6 reference).

| Metric (scripts: cfepi_qc.py, cfepi_k36.py) | H3K4me3 | H3K27ac | H3K36me3 | IgG |
| --- | --- | --- | --- | --- |
| TSS/flank (TSS ±500 bp vs 4–5 kb flanks) | ≥ 10 (HC1 benchmark 18.7) | > 5 (HC1: 5.2) | ~1–2 | ~1 (or < 1) |
| Gene-body active/silent (genes ≥ 10 kb) | ~1 | ~1–1.5 | > 2 (HC1 Aug: 1.16 = fail) | ~1 |
| TSS active/silent | High | > 3 | — | ~1 (> 1.3 suggests cellular-chromatin background) |
| S2 (dm6) read fraction | Similar across samples | Similar | Similar | Low |

- IgG with TSS enrichment above 1 indicates non-specific tagmentation of accessible cellular chromatin (ATAC-like background).

- Normal S2 capture with low human enrichment points to the sample (background or antibody saturation). Low S2 capture points to a failed well or failed beads.

# 9. Troubleshooting

| Observation | Likely cause | Action |
| --- | --- | --- |
| Mark ≈ IgG on TSS/flank or gene-body metrics | Poor coupling; antibody lot; too little antibody | Check supernatant gel; recouple fresh; try 2 µg/reaction; new lot or alternative antibody |
| H3K36me3 gene-body active/silent < 1.5 | Coupling or lot (formulation is compatible) | Gel QC; recouple with authors’ conditions; titrate 1 vs 2 µg; new lot |
| H3K27ac weak | ab4729 lot variation; 1% BSA reduces coupling | Switch to ab177178 (author recommendation) |
| IgG enriched at active TSSs (patient plasma) | Cellular chromatin / WBC lysis | Double spin; faster processing; stabilising tubes; compare 100 vs 200 µl plasma |
| Large ~140 bp peak | Low template; Tn5 adapter dimers | Extra 0.9–1.0× AMPure if > 10–15% area |
| Library peaks > 1 kb | Genomic DNA contamination | Review plasma handling; second high-speed spin |
| BAL samples flat or ≈ IgG | Matrix not validated; cells or debris | Separate optimisation: cell removal, input volume, cfDNA QC |

# 10. Notes from author correspondence

- Active Motif 91103 and 91265 were coupled directly from their supplied storage buffers, without buffer exchange; the post-coupling supernatant gel showed minimal remaining antibody.

- Coupling conditions were not adjusted per antibody: 48 h at 4 °C or 36 h at RT, with antibody-to-bead ratios per the manufacturer.

- Abcam ab4729 generally works but shows occasional lot-to-lot variation; ab177178 has performed better and more consistently in their recent experiments.

- Washing coupled beads with PBS + 0.1% BSA rather than PBS alone helps reduce non-specific background.

- Open questions: whether storage buffer also contains BSA; exact µg antibody per mg beads; typical QC thresholds for healthy plasma.